# PROCEDURE FOR POURING PHOTO RESIST

POURING RESIST

- Remove resist from refrigerator and allow resist to warm  up to room temperature to avoid condensation.  Let a full bottle (1-quart) of resist warm up for about one (1) hour before pouring.

- Obtain a new small bottle and blow-dry the inside and cap with the N2 blow gun.

- Label the bottle with your name, date, type of resist and the expiration date.

- Place the clean bottle in the solvent hood and pour the resist.  Wipe any spill with a wipe wetted with acetone.

- Clean both resist bottles’ thread with a wipe wetted with acetone.  Blow dry with nitrogen and re-cap.

- Clean the outside of the bottles in the same manner.

- Place the source bottle of photo resist back into the refrigerator.